## Meter Settings
Meter Settings
| Meter |  |  | Circuit Information |  |  | CT Ratings |  |  | MODBUS Address
| ID | Enable | Name | Type | Nominal Voltage | Rated Amps | Phase | Neutral | Earth
| 1 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 2 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 3 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 4 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 5 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 6 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 7 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 8 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 9 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 10 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 11 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 12 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 13 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 14 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 15 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 16 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 17 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 18 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 19 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 20 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 21 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 22 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 23 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 24 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 25 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 26 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 27 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 28 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 29 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 30 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 31 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 32 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 33 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 34 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 35 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 36 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 37 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 38 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 39 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 40 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 41 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 42 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 43 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 44 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 45 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 46 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 47 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 48 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 49 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 50 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 51 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 52 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 53 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 54 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 55 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 56 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 57 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 58 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 59 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 60 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 61 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 62 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 63 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 64 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 65 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 66 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 67 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 68 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 69 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
| 70 |  |  | 3-Phase |  |  | 0 | 0 | 0 | 0
INSTRUCTIONS
1. Enable and fill in fields for each power meter.
2. Click Alarm Settings tab. Define voltage/current alarm settings.
3. Click Configure Meters tab. Load spreadsheet into Power Meter Controller.
Circuit Type Click arrow, select from list. Choices: Single-phase, Split-phase, 3-phase
Nominal Circuit line-line voltage. Establishes alarm thresholds.
Voltage Example: Nominal (400V), threshold (90%): alarm occurs at 360V
Rated Amps Amp rating of breaker protecting circuit. Establishes alarm thresholds.
CT Ratings Amp ratings of phase, neutral and earth CTs.
If neutral or earth CT not used, enter 0
MODBUS
Address Power meter's MODBUS address. (Enter 0 if MODBUS not used)

## Alarm Settings
Alarm Settings
|  | Voltage | Phase Currents | Neutral Current | Earth Current
| Upper Critical Threshold | 0% | 0% | 0% | 0%
| Upper Warning Threshold | 0% | 0% | 0% | 0%
| Lower Warning Threshold | 0% | 0% | 0% | 0%
| Lower Critical Threshold | 0% | 0% | 0% | 0%
| Assert Time (seconds) | 0 | 0 | 0 | 0
| Hysteresis (volts or amps) | 0 | 0 | 0 | 0
INSTRUCTIONS
To establish alarm levels for voltages & currents:
1. Specify Thresholds.
2. Specify Assert Time.
3. Specify Hysteresis.
HOW ALARMS WORK
State (Normal, Warning, Critical) changes when measurement crosses threshold.
Threshold is percentage of nominal voltage or rated current. (0% disables threshold)
Assert Time is duration measurement must be present before change to worse state.
Hysteresis is difference (volts or amps) from threshold causing change back to better state.
EXAMPLE
Circuit Rating (40A), Upper Warning (80%), Assert Time (5), Hysteresis (2).
State changes from Normal to Warning when measurement exceeds 32A for 5 seconds.
State changes back to Normal when measurement falls below 30A.

## Configure Meters
Configure Meters
| username | password
| admin | raritan
INSTRUCTIONS (Procedure to configure using USB flash drive)
1. Enter power meter login crendentials:
(Default username/password: admin/raritan)
INSTRUCTIONS (Procedure to configure using network connection)
A. Use Excel Save As: save to location on PC.
B. Disable your PC WIFI connection.
C. Connect cable between PC and Power Meter Controller network ports.
D. Open browser on PC. Enter http://pdu.local in browser address bar.
E. Login (default username/password are admin/raritan)
F. Click Import Configuration.
G. Navigate to location where file saved in step A Select the JSON file (not the Microsoft Excel file)
2. Insert USB flash drive into PC
3. Use Excel Save As: save spreadsheet to flash drive
4. Remove flash drive from PC.
Insert it into Power Meter Controller USB port.
5. Controller LCD shows results. Remove flash drive. 6. Press button to restore LCD screen

## Validation (hidden)
Circuit Types |  | Voltage Alarm Threshold |  | Phase Currents Alarm Threshold |  | Neutral Current Alarm Threshold |  | Earth Current Alarm Threshold
|  | Min | Max | Min | Max | Min | Max | Min | Max
Single-Phase | Upper Critical % | 0% | 200% | 0% | 200% | 0% | 200% | 0% | 200%
Split-Phase | Upper Warning % | 0% | 200% | 0% | 200% | 0% | 200% | 0% | 200%
3-Phase | Lower Warning % | 0% | 200% | 0% | 200% | 0% | 200% | 0% | 200%
| Lower Critical % | 0% | 200% | 0% | 200% | 0% | 200% | 0% | 200%
| Assert Time | 0 | 100 | 0 | 100 | 0 | 100 | 0 | 100
| Hysteresis | 0 | 500 | 0 | 2000 | 0 | 2000 | 0 | 2000